## Slide 1
The Fresnel Equations - Measurements and Analysis
A vBFY Workshop, July 29, 2021
Prof. Michael Braunstein
Physics, Central Washington University
michael.braunstein@cwu.edu

## Slide 2
Context: Advanced Lab – Polarization Unit
Working hypothesis:
  polarization presents a significant and easily neglected conceptual challenge
Optical, plane-wave, electromagnetic radiation
Advanced Lab polarization unit:
  Malus’ law
  λ/2 plate
  Birefringence
  Fresnel equations
  Faraday rotation
Braunstein, vBFY, 7/29/2021

## Slide 3
Specular reflection from a dielectric surface
Braunstein, vBFY, 7/29/2021
Fresnel equations*:
* the Fresnel equations are not typically given in this form in the literature

## Slide 4
Apparatus
Braunstein, vBFY, 7/29/2021
Mx: mirror
LP: linear polarizer
λ/2: half-wave plate

## Slide 5
Example of results
Braunstein, vBFY, 7/29/2021

## Slide 6
Student Tasks
Braunstein, vBFY, 7/29/2021
Beam alignment
Qualitative investigation
Calibrate angle scale of rotation stage
Calibrate angle scale of λ/2 mount
Perform measurements corresponding to the Fresnel equations
Analyze the data

## Slide 7
Significance in the context of the Advanced Lab
Braunstein, vBFY, 7/29/2021
Compelling and conceptually meaningful demonstration of and interaction with polarization
Optics lab skills (alignment)
Broad experimental methods challenges and experiences, including:
  Angle calibrations
  “Translation” of literature equations
  Non-linear fitting
Immediate application of principles to other laboratory systems and practices
Presents meaningful context for addressing technical writing skills